Анализ влияния геометрических характеристик тензочувствительных элементов на выходной сигнал датчика давления с упругой мембраной

Рябов Н.В. 1 *, Скворцов П.А. 1

1Московский Политехнический Университет, Москва, Россия

*E-mail (докладчика): ryabovnv@internet.ru

Аннотация

Работа посвящена исследованию влияния размеров и расположения тензодатчиков на показания выходного сигнала датчиков давления с упругими мембранами. Целью работы является оптимизация конструкции на основе результатов численного моделирования в среде ANSYS. Результаты позволяют рекомендовать оптимальное размещение и выбор габаритов тензодатчика для минимизации погрешности измерений. Работа имеет прикладное значение для проектирования высокоточных приборов контроля давления.

Ключевые слова: тензодатчик, мембрана, датчик давления, численное моделирование, метод конечных элементов, деформация, оптимизация.

Литература

1. Ваганов В. И. Интегральные тензопреобразователи. – М.: Энергоатомиздат, 1983 – 136 с.

2. Иванов О.М., Семенов К.П. Основы теории и практика выбора конструкции датчиков давления с эластичными мембранами // Измерительная техника. № 3, 2023 г.

Analysis of the influence of geometric characteristics of strain-gauge elements on the output signal of a pressure sensor with an elastic membrane

Ryabov N.V. 1*, Skvortsov P.A.1

1Moscow Polytechnic University, Moscow, Russia

* E-mail (speaker):  ryabovnv@internet.ru

Аnnotation

The work is devoted to the study of the effect of the size and location of load cells on the output signal readings of pressure sensors with elastic membranes. The aim of the work is to optimize the design based on the results of numerical modeling in the ANSYS. The results allow us to recommend the optimal placement and size selection of the load cell to minimize measurement errors. The work is of practical importance for the design of high-precision pressure monitoring devices.

Keywords: strain gauge, membrane, pressure sensor, numerical simulation, finite element method, deformation, optimization.

References

1. Vaganov V. I. Integral strain gauges. – Moscow: Energoatomizdat, 1983

2. Ivanov O.M., Semenov K.P. Fundamentals of the theory and practice of selecting pressure sensor designs with elastic membranes // Measurement Technology. No. 3, 2023.